# Architecture

- Have security zones, architecture levels and conduits been defined and mapped?

- Has a testing zone and work bench area been included or created?

- Have safety zones been created?

- Have facilities, fire, mass communication, physical access and other building related control systems been included?

- Have tiers of logging, alarm management, types of protocols and segmentation been implemented?

- How are RF/wireless components in cabinets as well as peripheral devices (e.g. laptops and phones) accounted for in architecture security zones?

- Are P&ID, network and process flow diagrams current and accurate? Do they identify devices, their conduits, protocols, systems, zones and locations?

- How is cloud and remote access accounted for?

# Devices and Components

- Has a general inventory of types of devices been created?

- Are devices broken up into classes and levels?

- Have basic device features (e.g. conduit type, protocol, IP, MAC and ports been captured)?

- Are asset tags assigned?

- Are there spare parts?

- Are portable and peripheral assets accounted for? (e.g. tablets, phones, ID/badge, tokens, laptops, USB etc.)

- Have technical manuals and data sheets been collected from vendors and integrators?

# Applications and Systems

- Has a basic inventory and classification of types of applications and systems been created? (e.g. types of DCS, SCADA, PLC, Historian, HMI software, operating systems etc.)

- Has ports, protocols and services and APIs been captured?

- Has a patch management process including testing, roll back and deployment been created?

- Has alarming and notifications been defined and mapped? For which applications and systems? How do they communicate on the network?

# Users, Roles and Responsibilities

- Have users been defined and documented? (e.g. organic employee vs contractor vs third party OEM etc.)

- Has role-based access control been implemented?

- Has configuration, maintenance and changes been tracked, defined and understood? Is there a detailed work order process that tracks date, time, system, person, roll etc. for changes?

- Has continuity of operations and emergency ad hoc roles or privilege changes been considered, defined and tested? (e.g. emergency stop roles, ad hoc changes in privileges etc.)?