## Asset Inventory
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
What ICS Protocols are being used? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
What ethernet and IP ports are being used?
What type of asset? (PLC, RTU, VFD, Pump, Valve, Tank, hydrant, Pipe, sensor, timer, actuator, HMI, laptop, etc)
What Services are running on assets?
What brand OEM are the assets?
What's the cost (unit price or license fee) of the asset?
Is there a spare of the asset?
What condition is the spare of the asset in?
Where are the spares located?
Is there an asset custodian assigned?
Is there an asset tracking system?
What is the asset tag or ID number/name?
What is the MAC address?
What is the IP address?
Is business process, site location captured for each ICS OT asset?
Is there a line of business owner for the asset?

## Config Management
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Have they disabled features that are not absolutely critical? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Do they have a change control process in place 24/7/366?
Does their change control process include emergency or scheduled maintenance windows (e.g. remote access for control or monitoring)?
Is lock out tag out implemented?
Can operators make changes without another operator shadowing and checking their work? (e.g. includes third parties)?
Is there continuous maintenance window that includes sytem checks, testing, assessments, upgrades, patching etc?

## Supply Chain_Procurement
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Is there security language and specific requirements in all SLA, MSA, MOU, RFI, RFP and contract technical specification sections of all agreements for products and services? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Are third parties prevented from unsupervised access to field sites and ICS OT assets?
Is there a due dilligence checklist for all mergers, acquistions and divestments?
Is there asset or product source control implemented? Do they know where their components come from?

## Access Control
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Is there a Physical Security Program for the ICS OT assets? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Is there a cyber security program for the ICS OT assets?
Do you have a smart key and lock system and program in place?
What kind of physical security is captured in pictures and walkdowns of ICS OT assets? (e.g. types of locks, fences, sensors, cameras, gates size etc)
Is attribute, tag, read/write and role based access control implemented on all levels of ICS OT assets (e.g. PLC, programmable VFD, relay, HMI, laptop, engineering workstation, radios, meters etc)?
Is removeable media controlled, scanned and locked and or blocked from working on ICS OT assets? (e.g. USB, CD/DVD, etc)?

## Telecomm_Network
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Are they using Industrial Protocol firewalls like Tofino? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Are they implementing zones and conduits principle at all levels and layers of devices, telecommunications, networks, site locations and areas of architecture?
What kind of RF and wireless are they using?
Is ICS OT in a separate Active Directory Domain?
Are they using Cloud with ICS OT assets?
Are they using SAP ERP and MES with ICS OT assets?
Do they have updated network, P&ID, process logic and other ICS OT scada engineering, telecommunication, instrumentation and network diagrams?
Is the ICS OT telecomm and networking segmented and segregated from third party, IT, internet and extranet communications conduits and equipment?
Are DMZs and unidirectional gateways or data diodes in place in areas where one way communication only (e.g. monitor only read only subscribe only traffic is flowing outbound)?
Is encryption being used esepcially for remote and RF/wireless connections?
Can devices do logging of events, changes, alarms, notifications through mirror interfices and to mirror servers?
Is there a separate ICS OT SIEM protected by data diode, unidirectional gateways, firewalls and DMZs?
Are they using serial and protocol converter devices?
Do serial and protocol converter devices have configurable security features? Are those features being used properly?
Have passive analysis tools like Wireshark, Netminer, Grassmarlin been used to analyze ICS OT network, device and protocol communications?
Have they conducted an RF/wireless vulnerability analysis? (e.g. HackRF, GNURadio etc)?

## FAT SAT Validation Testing
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Do they have independent third parties validate and check the design of ICS OT systems, devices, networks and architecture? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Are you checking network access control (NAC)?
Are you checking access control features?
Are you checking ports, protocols, services, installed software, firmware, OS/RTOS, hardware and software types and versions?
Are assets configured in accordance with their specificed FAT SAT procedure design and requirements specifications?
Are they conducting robustness and malicious fuzzing tests on protocols, software, hardware, communications and human social engineering?

## GRC
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Do they have a governance council in place between CISO, CSO, COO, CEO, external third parties, OEMs, Operational VPs/Asset and Business Unit/Site Managers etc? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Has an Exectuvie Owner of ICS OT SCADA DCS PCS asset risk been assigned by the organization?
Does the organication hold monthly or quarterly CCB meetings to decide ICS OT maintenance windows and downtown for testing, upgrades, cyber maintenance activities etc?

## DR_BCP
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Do they have Jumpkits for ICS OT assets? (e.g. defined in US CYBERCOM/NSA ACI TTP guide) |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Do they have run books, playbooks for ICS OT troubleshooting, resilience and recovery?
Do they have both warm and cold alt sites for the most critical applications, operations and assets?
How often do they do exercises and drills? Quarterly? Annually?

## IR_Forensics_Logging
Questions | Expected Results/Outputs/Artifacts | Captured Results/Outputs/Artifacts | Security Assessor | Point of Contact Information Source
Do they have an ICS Security Manager appointed and trained? |  |  | Name, title, business unit, email, number | Name, title, business unit, email, number
Do they have event types and levels defined?
Do they define when an event becomes an incident?
Do they have ICS OT attack classes, categories and levels defined?
Do they have events, incidents, attack classes, categories and levels mapped to types of consequences and impacts?
Do they have established points of contact and regular communication with ICS-CERT, their sector ISAC, chapter InfraGard, local FBI field office and or state fusion center?
Do they have locked/secured hard copies of incident manuals and playbooks with roles and responsibilities defined, contact information (both internal and external contacts), communications procedures etc? (e.g. reference NSA/USCYBERCOM ACI TTPs and other ICS security guideline examples)
Incident Jumpkits with backup PLC programming licenses, current copy of PLC logic, manuals, forensic, log/config/pcap analysis tools etc? (e.g. reference NSA/USCYBERCOM ACI TTPs and other ICS security guideline examples)