## Instructions
ISA/IEC 62443 OT Cyber-Physical Security Assurance Test Tracker v2.0
Copyright (c) 2026 Isiah Jones. All Rights Reserved.
Tab Descriptions
Requirements Library | All ISA/IEC 62443-3-3 SRs, 62443-4-2 EDR/HDR/NDR/SAR component requirements, and PLC Top 20 Secure Coding Practices with full FR names and SL mappings.
MITRE ATT&CK ICS | Complete ATT&CK for ICS techniques with ID+Name, tactics, descriptions. Feeds dropdown in Test Tracker.
Asset Inventory | Track all assets under test (systems, components, zones, conduits). Feeds the Asset Under Test dropdown in Test Tracker.
Test Tracker | Main testing worksheet. All dropdowns pull from reference tabs. Includes ATT&CK Impact, CyberPHA/HAZOP/FMEA consequences, and ATT&CK vulnerability types.
CVSS v4.0 Reference | Reference for CVSS v4.0 metrics. Use https://www.first.org/cvss/calculator/4.0 for scoring.
Risk Matrix | 5x5 risk matrix and Assurance Decision Framework with CVSS-to-assurance level mapping.
POA&M Tracker | Plan of Action and Milestones for tracking remediation of findings from testing.
Metrics Dashboard | Auto-calculated metrics with charts: test status, risk ranking, FR coverage by risk level, ATT&CK Impact distribution, consequence type distribution.
Report Template | Executive summary template with auto-populated stats and four assurance decision statements.
Standards References
ISA/IEC 62443-3-3 | System Security Requirements and Security Levels
ISA/IEC 62443-4-2 | Technical Security Requirements for IACS Components (EDR/HDR/NDR/SAR)
PLC Top 20 | Secure PLC Coding Practices — https://plc-security.com
MITRE ATT&CK for ICS | https://attack.mitre.org/matrices/ics/
CVSS v4.0 | https://www.first.org/cvss/calculator/4.0

## Requirements Library
Req_ID | Standard | Section | FR/Category | Requirement Name | Type | Base Requirement Description | Requirement Enhancement | RE Description | SL-1 | SL-2 | SL-3 | SL-4 | Applicable Component Types
SR 1.1 | 62443-3-3 | 5.3 | FR1 - Identification and Authentication Control (IAC) | Human User Identification and Authentication | System Req (SR) | Identify and authenticate all human users on all interfaces. | RE1: Unique ID+auth; RE2: MFA untrusted nets; RE3: MFA all nets |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Host, Application, Network
SR 1.2 | 62443-3-3 | 5.4 | FR1 - Identification and Authentication Control (IAC) | Software Process and Device Identification and Authentication | System Req (SR) | Identify and authenticate all software processes and devices. | RE1: Unique ID+auth |  | N/S | Y | Y+RE1 | Y+RE1 | Embedded, Host, Network
SR 1.3 | 62443-3-3 | 5.5 | FR1 - Identification and Authentication Control (IAC) | Account Management | System Req (SR) | Support management of all accounts by authorized users. | RE1: Unified account mgmt |  | Y | Y | Y+RE1 | Y+RE1 | Host, Application
SR 1.4 | 62443-3-3 | 5.6 | FR1 - Identification and Authentication Control (IAC) | Identifier Management | System Req (SR) | Support management of identifiers by user, group, role or interface. | None |  | Y | Y | Y | Y | All
SR 1.5 | 62443-3-3 | 5.7 | FR1 - Identification and Authentication Control (IAC) | Authenticator Management | System Req (SR) | Initialize, change, refresh, and protect all authenticators. | RE1: HW security for SW process credentials |  | Y | Y | Y+RE1 | Y+RE1 | All
SR 1.6 | 62443-3-3 | 5.8 | FR1 - Identification and Authentication Control (IAC) | Wireless Access Management | System Req (SR) | Identify and authenticate all wireless users. | RE1: Unique wireless ID+auth |  | Y | Y+RE1 | Y+RE1 | Y+RE1 | Network, Embedded
SR 1.7 | 62443-3-3 | 5.9 | FR1 - Identification and Authentication Control (IAC) | Strength of Password-Based Authentication | System Req (SR) | Enforce configurable password strength. | RE1: Password generation/lifetime for humans; RE2: Lifetime for all users |  | Y | Y | Y+RE1 | Y+RE1+RE2 | Host, Application
SR 1.8 | 62443-3-3 | 5.10 | FR1 - Identification and Authentication Control (IAC) | Public Key Infrastructure (PKI) Certificates | System Req (SR) | Operate PKI per best practices or obtain certificates from existing PKI. | None |  | N/S | Y | Y | Y | Host, Network
SR 1.9 | 62443-3-3 | 5.11 | FR1 - Identification and Authentication Control (IAC) | Strength of Public Key Authentication | System Req (SR) | Validate certificates, control private keys, map identity to users. | RE1: HW security for public key auth |  | N/S | Y | Y+RE1 | Y+RE1 | Host, Network
SR 1.10 | 62443-3-3 | 5.12 | FR1 - Identification and Authentication Control (IAC) | Authenticator Feedback | System Req (SR) | Obscure feedback of authentication information. | None |  | Y | Y | Y | Y | All
SR 1.11 | 62443-3-3 | 5.13 | FR1 - Identification and Authentication Control (IAC) | Unsuccessful Login Attempts | System Req (SR) | Enforce limit of consecutive invalid access attempts. | None |  | Y | Y | Y | Y | Host, Application
SR 1.12 | 62443-3-3 | 5.14 | FR1 - Identification and Authentication Control (IAC) | System Use Notification | System Req (SR) | Display system use notification before authenticating. | None |  | Y | Y | Y | Y | Host, Application
SR 1.13 | 62443-3-3 | 5.15 | FR1 - Identification and Authentication Control (IAC) | Access via Untrusted Networks | System Req (SR) | Monitor and control all access methods via untrusted networks. | RE1: Explicit access request approval |  | Y | Y+RE1 | Y+RE1 | Y+RE1 | Network, Host
SR 2.1 | 62443-3-3 | 6.3 | FR2 - Use Control (UC) | Authorization Enforcement | System Req (SR) | Enforce authorizations for all human users. | RE1: All users; RE2: Permission-to-role mapping; RE3: Supervisor override; RE4: Dual approval |  | Y | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Y+RE1+RE2+RE3+RE4 | All
SR 2.2 | 62443-3-3 | 6.4 | FR2 - Use Control (UC) | Wireless Use Control | System Req (SR) | Authorize, monitor, enforce wireless usage restrictions. | RE1: ID/report unauthorized wireless devices |  | Y | Y | Y+RE1 | Y+RE1 | Network
SR 2.3 | 62443-3-3 | 6.5 | FR2 - Use Control (UC) | Use Control for Portable and Mobile Devices | System Req (SR) | Enforce configurable usage restrictions for portable/mobile devices. | RE1: Enforce security status of portable/mobile devices |  | Y | Y | Y+RE1 | Y+RE1 | Network, Host
SR 2.4 | 62443-3-3 | 6.6 | FR2 - Use Control (UC) | Mobile Code | System Req (SR) | Enforce usage restrictions for mobile code technologies. | RE1: Mobile code integrity check |  | Y | Y | Y+RE1 | Y+RE1 | Host, Application
SR 2.5 | 62443-3-3 | 6.7 | FR2 - Use Control (UC) | Session Lock | System Req (SR) | Prevent further access via session lock after configurable inactivity. | None |  | Y | Y | Y | Y | Host, Application
SR 2.6 | 62443-3-3 | 6.8 | FR2 - Use Control (UC) | Remote Session Termination | System Req (SR) | Terminate remote sessions automatically or manually. | None |  | N/S | Y | Y | Y | Network, Host
SR 2.7 | 62443-3-3 | 6.9 | FR2 - Use Control (UC) | Concurrent Session Control | System Req (SR) | Limit concurrent sessions per interface. | None |  | N/S | N/S | Y | Y | Host, Application
SR 2.8 | 62443-3-3 | 6.10 | FR2 - Use Control (UC) | Auditable Events | System Req (SR) | Generate audit records for security-relevant events. | RE1: Centrally managed system-wide audit trail with SIEM export |  | Y | Y | Y+RE1 | Y+RE1 | All
SR 2.9 | 62443-3-3 | 6.11 | FR2 - Use Control (UC) | Audit Storage Capacity | System Req (SR) | Allocate sufficient audit record storage capacity. | RE1: Warn when storage threshold reached |  | Y | Y | Y+RE1 | Y+RE1 | Host
SR 2.10 | 62443-3-3 | 6.12 | FR2 - Use Control (UC) | Response to Audit Processing Failures | System Req (SR) | Alert personnel and prevent loss of essential services during audit failures. | None |  | Y | Y | Y | Y | Host
SR 2.11 | 62443-3-3 | 6.13 | FR2 - Use Control (UC) | Timestamps | System Req (SR) | Provide timestamps for audit record generation. | RE1: Internal time sync; RE2: Protect time source integrity |  | N/S | Y | Y+RE1 | Y+RE1+RE2 | All
SR 2.12 | 62443-3-3 | 6.14 | FR2 - Use Control (UC) | Non-repudiation | System Req (SR) | Determine whether a given human user took a particular action. | RE1: Non-repudiation for all users |  | N/S | N/S | Y | Y+RE1 | Host, Application
SR 3.1 | 62443-3-3 | 7.3 | FR3 - System Integrity (SI) | Communication Integrity | System Req (SR) | Protect integrity of transmitted information. | RE1: Cryptographic integrity protection |  | Y | Y | Y+RE1 | Y+RE1 | All
SR 3.2 | 62443-3-3 | 7.4 | FR3 - System Integrity (SI) | Malicious Code Protection | System Req (SR) | Prevent, detect, report, mitigate malicious code. | RE1: Protection at entry/exit points; RE2: Central mgmt/reporting |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2 | Host, Network
SR 3.3 | 62443-3-3 | 7.5 | FR3 - System Integrity (SI) | Security Functionality Verification | System Req (SR) | Support verification of security functions during FAT/SAT/maintenance. | RE1: Automated verification; RE2: Verification during normal ops |  | Y | Y | Y+RE1 | Y+RE1+RE2 | All
SR 3.4 | 62443-3-3 | 7.6 | FR3 - System Integrity (SI) | Software and Information Integrity | System Req (SR) | Detect, record, report, protect against unauthorized changes at rest. | RE1: Automated integrity violation notification |  | N/S | Y | Y+RE1 | Y+RE1 | All
SR 3.5 | 62443-3-3 | 7.7 | FR3 - System Integrity (SI) | Input Validation | System Req (SR) | Validate syntax and content of any process control input. | None |  | Y | Y | Y | Y | All
SR 3.6 | 62443-3-3 | 7.8 | FR3 - System Integrity (SI) | Deterministic Output | System Req (SR) | Set outputs to predetermined state if normal operation cannot be maintained. | None |  | Y | Y | Y | Y | Embedded
SR 3.7 | 62443-3-3 | 7.9 | FR3 - System Integrity (SI) | Error Handling | System Req (SR) | Handle error conditions without providing exploitable information. | None |  | N/S | Y | Y | Y | All
SR 3.8 | 62443-3-3 | 7.10 | FR3 - System Integrity (SI) | Session Integrity | System Req (SR) | Protect session integrity, reject invalid session IDs. | RE1: Invalidate after termination; RE2: Unique IDs; RE3: Random IDs |  | N/S | Y | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Host, Application
SR 3.9 | 62443-3-3 | 7.11 | FR3 - System Integrity (SI) | Protection of Audit Information | System Req (SR) | Protect audit info from unauthorized access, modification, deletion. | RE1: Write-once media |  | N/S | Y | Y | Y+RE1 | Host
SR 4.1 | 62443-3-3 | 8.3 | FR4 - Data Confidentiality (DC) | Information Confidentiality | System Req (SR) | Protect confidentiality of information at rest or in transit. | RE1: Protect via untrusted nets; RE2: Protect across zone boundaries |  | Y | Y+RE1 | Y+RE1 | Y+RE1+RE2 | All
SR 4.2 | 62443-3-3 | 8.4 | FR4 - Data Confidentiality (DC) | Information Persistence | System Req (SR) | Purge protected information from decommissioned components. | RE1: Purge shared memory resources |  | N/S | Y | Y+RE1 | Y+RE1 | All
SR 4.3 | 62443-3-3 | 8.5 | FR4 - Data Confidentiality (DC) | Use of Cryptography | System Req (SR) | Use cryptographic algorithms and key management per accepted practices. | None |  | Y | Y | Y | Y | All
SR 5.1 | 62443-3-3 | 9.3 | FR5 - Restricted Data Flow (RDF) | Network Segmentation | System Req (SR) | Logically segment control system networks from non-CS networks. | RE1: Physical segmentation; RE2: Independence; RE3: Logical+physical isolation |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Network
SR 5.2 | 62443-3-3 | 9.4 | FR5 - Restricted Data Flow (RDF) | Zone Boundary Protection | System Req (SR) | Monitor and control communications at zone boundaries. | RE1: Deny by default; RE2: Island mode; RE3: Fail close |  | Y | Y+RE1 | Y+RE1+RE2+RE3 | Y+RE1+RE2+RE3 | Network
SR 5.3 | 62443-3-3 | 9.5 | FR5 - Restricted Data Flow (RDF) | General Purpose Person-to-Person Communication Restrictions | System Req (SR) | Prevent general purpose messages from external users/systems. | RE1: Prohibit all general purpose P2P comms |  | Y | Y | Y+RE1 | Y+RE1 | Network, Host
SR 5.4 | 62443-3-3 | 9.6 | FR5 - Restricted Data Flow (RDF) | Application Partitioning | System Req (SR) | Support partitioning of data, applications, services by criticality. | None |  | Y | Y | Y | Y | Host, Application
SR 6.1 | 62443-3-3 | 10.3 | FR6 - Timely Response to Events (TRE) | Audit Log Accessibility | System Req (SR) | Provide read-only audit log access for authorized humans/tools. | RE1: Programmatic access via API |  | Y | Y | Y+RE1 | Y+RE1 | Host
SR 6.2 | 62443-3-3 | 10.4 | FR6 - Timely Response to Events (TRE) | Continuous Monitoring | System Req (SR) | Continuously monitor all security mechanism performance. | None |  | N/S | Y | Y | Y | All
SR 7.1 | 62443-3-3 | 11.3 | FR7 - Resource Availability (RA) | Denial of Service Protection | System Req (SR) | Operate in degraded mode during DoS events. | RE1: Manage communication loads; RE2: Limit DoS to other systems |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2 | All
SR 7.2 | 62443-3-3 | 11.4 | FR7 - Resource Availability (RA) | Resource Management | System Req (SR) | Limit resource use by security functions to prevent exhaustion. | None |  | Y | Y | Y | Y | All
SR 7.3 | 62443-3-3 | 11.5 | FR7 - Resource Availability (RA) | Control System Backup | System Req (SR) | Support backup without affecting normal operations. | RE1: Backup verification; RE2: Backup automation |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2 | Host
SR 7.4 | 62443-3-3 | 11.6 | FR7 - Resource Availability (RA) | Control System Recovery and Reconstitution | System Req (SR) | Recover to known secure state after disruption. | None |  | Y | Y | Y | Y | All
SR 7.5 | 62443-3-3 | 11.7 | FR7 - Resource Availability (RA) | Emergency Power | System Req (SR) | Switch to/from emergency power without affecting security state. | None |  | Y | Y | Y | Y | All
SR 7.6 | 62443-3-3 | 11.8 | FR7 - Resource Availability (RA) | Network and Security Configuration Settings | System Req (SR) | Configure per recommended settings; provide interface to current settings. | RE1: Machine-readable reporting |  | Y | Y | Y+RE1 | Y+RE1 | All
SR 7.7 | 62443-3-3 | 11.9 | FR7 - Resource Availability (RA) | Least Functionality | System Req (SR) | Prohibit/restrict unnecessary functions, ports, protocols, services. | None |  | Y | Y | Y | Y | All
SR 7.8 | 62443-3-3 | 11.10 | FR7 - Resource Availability (RA) | Control System Component Inventory | System Req (SR) | Report current installed components and their properties. | None |  | N/S | Y | Y | Y | All
EDR 1.1 | 62443-4-2 | 11.5 | FR1 - Identification and Authentication Control (IAC) | Human User ID and Auth (Embedded Device) | Embedded Device Req (EDR) | Embedded device shall identify and authenticate all human users on all interfaces. | Maps to SR 1.1 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Embedded Devices (PLC, RTU, IED)
EDR 1.2 | 62443-4-2 | 11.5 | FR1 - Identification and Authentication Control (IAC) | SW Process and Device ID and Auth (Embedded) | Embedded Device Req (EDR) | Embedded device shall identify and authenticate all software processes and devices. | Maps to SR 1.2 |  | N/S | Y | Y+RE1 | Y+RE1 | Embedded Devices
EDR 2.1 | 62443-4-2 | 11.6 | FR2 - Use Control (UC) | Authorization Enforcement (Embedded) | Embedded Device Req (EDR) | Embedded device shall enforce authorizations assigned to users. | Maps to SR 2.1 |  | Y | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Y+RE1+RE2+RE3+RE4 | Embedded Devices
EDR 2.8 | 62443-4-2 | 11.6 | FR2 - Use Control (UC) | Auditable Events (Embedded) | Embedded Device Req (EDR) | Embedded device shall generate security audit records. | Maps to SR 2.8 |  | Y | Y | Y+RE1 | Y+RE1 | Embedded Devices
EDR 3.2 | 62443-4-2 | 11.7 | FR3 - System Integrity (SI) | Malicious Code Protection (Embedded) | Embedded Device Req (EDR) | Embedded device shall employ malicious code protection (whitelisting, firmware validation). | Maps to SR 3.2 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2 | Embedded Devices
EDR 3.5 | 62443-4-2 | 11.7 | FR3 - System Integrity (SI) | Input Validation (Embedded) | Embedded Device Req (EDR) | Embedded device shall validate syntax/content of process control inputs. | Maps to SR 3.5 |  | Y | Y | Y | Y | Embedded Devices
EDR 3.6 | 62443-4-2 | 11.7 | FR3 - System Integrity (SI) | Deterministic Output (Embedded) | Embedded Device Req (EDR) | Embedded device shall set outputs to predetermined safe state on attack. | Maps to SR 3.6 |  | Y | Y | Y | Y | Embedded Devices
EDR 3.14 | 62443-4-2 | 11.7 | FR3 - System Integrity (SI) | Integrity of the Boot Process (Embedded) | Embedded Device Req (EDR) | Embedded device shall provide secure boot capability to validate firmware/software integrity at startup. | 62443-4-2 specific EDR |  | N/S | Y | Y | Y | Embedded Devices
EDR 7.1 | 62443-4-2 | 11.11 | FR7 - Resource Availability (RA) | DoS Protection (Embedded) | Embedded Device Req (EDR) | Embedded device shall operate in degraded mode during DoS. | Maps to SR 7.1 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2 | Embedded Devices
HDR 1.1 | 62443-4-2 | 12.5 | FR1 - Identification and Authentication Control (IAC) | Human User ID and Auth (Host Device) | Host Device Req (HDR) | Host device shall identify and authenticate all human users. | Maps to SR 1.1 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Host Devices (EWS, OWS, Server, Historian)
HDR 1.7 | 62443-4-2 | 12.5 | FR1 - Identification and Authentication Control (IAC) | Strength of Password-Based Auth (Host) | Host Device Req (HDR) | Host device shall enforce configurable password strength. | Maps to SR 1.7 |  | Y | Y | Y+RE1 | Y+RE1+RE2 | Host Devices
HDR 2.1 | 62443-4-2 | 12.6 | FR2 - Use Control (UC) | Authorization Enforcement (Host) | Host Device Req (HDR) | Host device shall enforce authorizations for all users. | Maps to SR 2.1 |  | Y | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Y+RE1+RE2+RE3+RE4 | Host Devices
HDR 2.8 | 62443-4-2 | 12.6 | FR2 - Use Control (UC) | Auditable Events (Host) | Host Device Req (HDR) | Host device shall generate security audit records. | Maps to SR 2.8 |  | Y | Y | Y+RE1 | Y+RE1 | Host Devices
HDR 3.2 | 62443-4-2 | 12.7 | FR3 - System Integrity (SI) | Malicious Code Protection (Host) | Host Device Req (HDR) | Host device shall employ malicious code protection mechanisms. | Maps to SR 3.2 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2 | Host Devices
HDR 3.13 | 62443-4-2 | 12.7 | FR3 - System Integrity (SI) | Secure Boot (Host) | Host Device Req (HDR) | Host device shall validate integrity of boot process. | 62443-4-2 specific HDR |  | N/S | Y | Y | Y | Host Devices
HDR 4.1 | 62443-4-2 | 12.8 | FR4 - Data Confidentiality (DC) | Information Confidentiality (Host) | Host Device Req (HDR) | Host device shall protect confidentiality of information at rest/in transit. | Maps to SR 4.1 |  | Y | Y+RE1 | Y+RE1 | Y+RE1+RE2 | Host Devices
HDR 7.1 | 62443-4-2 | 12.11 | FR7 - Resource Availability (RA) | DoS Protection (Host) | Host Device Req (HDR) | Host device shall operate in degraded mode during DoS. | Maps to SR 7.1 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2 | Host Devices
NDR 1.6 | 62443-4-2 | 13.5 | FR1 - Identification and Authentication Control (IAC) | Wireless Access Management (Network) | Network Device Req (NDR) | Network device shall identify/authenticate all wireless users. | Maps to SR 1.6 |  | Y | Y+RE1 | Y+RE1 | Y+RE1 | Network Devices (FW, Switch, Router)
NDR 1.13 | 62443-4-2 | 13.5 | FR1 - Identification and Authentication Control (IAC) | Access via Untrusted Networks (Network) | Network Device Req (NDR) | Network device shall monitor/control access via untrusted networks. | Maps to SR 1.13 |  | Y | Y+RE1 | Y+RE1 | Y+RE1 | Network Devices
NDR 2.2 | 62443-4-2 | 13.6 | FR2 - Use Control (UC) | Wireless Use Control (Network) | Network Device Req (NDR) | Network device shall enforce wireless usage restrictions. | Maps to SR 2.2 |  | Y | Y | Y+RE1 | Y+RE1 | Network Devices
NDR 3.1 | 62443-4-2 | 13.7 | FR3 - System Integrity (SI) | Communication Integrity (Network) | Network Device Req (NDR) | Network device shall protect integrity of transmitted information. | Maps to SR 3.1 |  | Y | Y | Y+RE1 | Y+RE1 | Network Devices
NDR 5.1 | 62443-4-2 | 13.9 | FR5 - Restricted Data Flow (RDF) | Network Segmentation (Network) | Network Device Req (NDR) | Network device shall support logical/physical network segmentation. | Maps to SR 5.1 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Network Devices
NDR 5.2 | 62443-4-2 | 13.9 | FR5 - Restricted Data Flow (RDF) | Zone Boundary Protection (Network) | Network Device Req (NDR) | Network device shall monitor/control communications at zone boundaries. | Maps to SR 5.2 |  | Y | Y+RE1 | Y+RE1+RE2+RE3 | Y+RE1+RE2+RE3 | Network Devices
NDR 5.3 | 62443-4-2 | 13.9 | FR5 - Restricted Data Flow (RDF) | General Purpose P2P Comm Restrictions (Network) | Network Device Req (NDR) | Network device shall restrict general purpose person-to-person communications. | Maps to SR 5.3 |  | Y | Y | Y+RE1 | Y+RE1 | Network Devices
SAR 1.1 | 62443-4-2 | 14.5 | FR1 - Identification and Authentication Control (IAC) | Human User ID and Auth (Application) | Software Application Req (SAR) | Application shall identify and authenticate all human users. | Maps to SR 1.1 |  | Y | Y+RE1 | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Applications (SCADA, DCS, HMI SW)
SAR 2.1 | 62443-4-2 | 14.6 | FR2 - Use Control (UC) | Authorization Enforcement (Application) | Software Application Req (SAR) | Application shall enforce authorizations. | Maps to SR 2.1 |  | Y | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Y+RE1+RE2+RE3+RE4 | Applications
SAR 2.4 | 62443-4-2 | 14.6 | FR2 - Use Control (UC) | Mobile Code (Application) | Software Application Req (SAR) | Application shall enforce mobile code restrictions. | Maps to SR 2.4 |  | Y | Y | Y+RE1 | Y+RE1 | Applications
SAR 3.5 | 62443-4-2 | 14.7 | FR3 - System Integrity (SI) | Input Validation (Application) | Software Application Req (SAR) | Application shall validate syntax/content of all inputs. | Maps to SR 3.5 |  | Y | Y | Y | Y | Applications
SAR 3.7 | 62443-4-2 | 14.7 | FR3 - System Integrity (SI) | Error Handling (Application) | Software Application Req (SAR) | Application shall handle errors without leaking exploitable info. | Maps to SR 3.7 |  | N/S | Y | Y | Y | Applications
SAR 3.8 | 62443-4-2 | 14.7 | FR3 - System Integrity (SI) | Session Integrity (Application) | Software Application Req (SAR) | Application shall protect session integrity. | Maps to SR 3.8 |  | N/S | Y | Y+RE1+RE2 | Y+RE1+RE2+RE3 | Applications
PLC-01 | PLC Top 20 | Practice 1 | PLC Top 20 Secure Coding Practices | Modularize PLC Code | Secure Coding Practice | Split PLC code into modules to limit effect of compromise. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-02 | PLC Top 20 | Practice 2 | PLC Top 20 Secure Coding Practices | Track Operating Modes | Secure Coding Practice | Track PLC operating mode (Run/Program/Test) and alarm on changes. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-03 | PLC Top 20 | Practice 3 | PLC Top 20 Secure Coding Practices | Leave Operational Logic in the PLC | Secure Coding Practice | Avoid placing safety-critical logic in HMI/SCADA; only PLC hosts it. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-04 | PLC Top 20 | Practice 4 | PLC Top 20 Secure Coding Practices | Use PLC Flags as Integrity Checks | Secure Coding Practice | Use internal flags and watchdog timers to monitor code execution integrity. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-05 | PLC Top 20 | Practice 5 | PLC Top 20 Secure Coding Practices | Use Cryptographic/Checksum Integrity Checks | Secure Coding Practice | Verify PLC program integrity at startup and periodically via hashes/checksums. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-06 | PLC Top 20 | Practice 6 | PLC Top 20 Secure Coding Practices | Validate Timers and Counters | Secure Coding Practice | Validate timers/counters in safety-critical functions to detect manipulation. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-07 | PLC Top 20 | Practice 7 | PLC Top 20 Secure Coding Practices | Validate Paired Inputs/Outputs | Secure Coding Practice | Cross-check related I/O to detect inconsistencies indicating tampering. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-08 | PLC Top 20 | Practice 8 | PLC Top 20 Secure Coding Practices | Validate Input/Output Data | Secure Coding Practice | Validate I/O against expected ranges; alert on out-of-range values. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-09 | PLC Top 20 | Practice 9 | PLC Top 20 Secure Coding Practices | Validate HMI Input Variables at PLC Level | Secure Coding Practice | Do not trust setpoint/command values from HMI without PLC-level validation. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-10 | PLC Top 20 | Practice 10 | PLC Top 20 Secure Coding Practices | Validate Indications by Checking Field Device Responses | Secure Coding Practice | Validate field device responses match commands sent. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-11 | PLC Top 20 | Practice 11 | PLC Top 20 Secure Coding Practices | Define a Safe Process State | Secure Coding Practice | Define/implement safe process state PLC reverts to on anomaly detection. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-12 | PLC Top 20 | Practice 12 | PLC Top 20 Secure Coding Practices | Monitor PLC Uptime | Secure Coding Practice | Track and report PLC uptime to detect unexpected restarts. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-13 | PLC Top 20 | Practice 13 | PLC Top 20 Secure Coding Practices | Log PLC Hard Stops and Restarts | Secure Coding Practice | Log all PLC hard stops/restarts with timestamps for forensics. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-14 | PLC Top 20 | Practice 14 | PLC Top 20 Secure Coding Practices | Log PLC Changes | Secure Coding Practice | Log all PLC program/config/firmware changes with timestamps and user identity. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-15 | PLC Top 20 | Practice 15 | PLC Top 20 Secure Coding Practices | Summarize PLC Cycle Times and Trend Deviations | Secure Coding Practice | Track scan cycle times; alert on deviations from normal. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-16 | PLC Top 20 | Practice 16 | PLC Top 20 Secure Coding Practices | Monitor PLC Memory Usage | Secure Coding Practice | Monitor PLC memory consumption; alert on unexpected changes. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-17 | PLC Top 20 | Practice 17 | PLC Top 20 Secure Coding Practices | Trap False Negatives/Positives for Critical Alerts | Secure Coding Practice | Detect suppressed alarms or false sensor readings. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-18 | PLC Top 20 | Practice 18 | PLC Top 20 Secure Coding Practices | Restrict Third-Party Data Interfaces | Secure Coding Practice | Restrict/validate data from third-party interfaces and OPC servers. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-19 | PLC Top 20 | Practice 19 | PLC Top 20 Secure Coding Practices | Define Safe Process State on PLC Restart | Secure Coding Practice | Define explicit startup states so PLC begins in known safe state. |  |  | Y | Y | Y | Y | PLC/DCS/RTU
PLC-20 | PLC Top 20 | Practice 20 | PLC Top 20 Secure Coding Practices | Instrument for Forensics | Secure Coding Practice | Provide sufficient logging/diagnostics in PLC for post-incident forensics. |  |  | Y | Y | Y | Y | PLC/DCS/RTU

## MITRE ATT&CK ICS
Technique ID | Technique Name | Tactic | Description Summary | ID + Name
T0800 | Activate Firmware Update Mode | Inhibit Response Function | Activate firmware update mode to prevent response functions | T0800 Activate Firmware Update Mode
T0801 | Monitor Process State | Collection | Gather information about physical process state | T0801 Monitor Process State
T0802 | Automated Collection | Collection | Automate collection of ICS environment information | T0802 Automated Collection
T0803 | Block Command Message | Inhibit Response Function | Block command messages from reaching target devices | T0803 Block Command Message
T0804 | Block Reporting Message | Inhibit Response Function | Block reporting messages to hide actions from operator | T0804 Block Reporting Message
T0805 | Block Serial COM | Inhibit Response Function | Block access to serial COM ports | T0805 Block Serial COM
T0806 | Brute Force I/O | Impair Process Control | Repetitively change I/O point values to manipulate process | T0806 Brute Force I/O
T0807 | Command-Line Interface | Execution | Use CLIs to interact with systems and execute commands | T0807 Command-Line Interface
T0809 | Data Destruction | Inhibit Response Function | Destroy data over course of an operation | T0809 Data Destruction
T0811 | Data from Information Repositories | Collection | Collect data from information repositories | T0811 Data from Information Repositories
T0812 | Default Credentials | Lateral Movement | Leverage default credentials on control system devices | T0812 Default Credentials
T0813 | Denial of Control | Impact | Prevent operators from interacting with process controls | T0813 Denial of Control
T0814 | Denial of Service | Inhibit Response Function | Perform DoS attacks to disrupt device functionality | T0814 Denial of Service
T0815 | Denial of View | Impact | Disrupt and prevent operator oversight on ICS status | T0815 Denial of View
T0816 | Device Restart/Shutdown | Inhibit Response Function | Forcibly restart or shutdown a device | T0816 Device Restart/Shutdown
T0817 | Drive-by Compromise | Initial Access | Gain access when user visits compromised website | T0817 Drive-by Compromise
T0819 | Exploit Public-Facing Application | Initial Access | Exploit internet-facing software for initial access | T0819 Exploit Public-Facing Application
T0820 | Exploitation for Evasion | Evasion | Exploit vulnerability to disable security features | T0820 Exploitation for Evasion
T0821 | Modify Controller Tasking | Execution | Modify controller tasking to execute adversary programs | T0821 Modify Controller Tasking
T0822 | External Remote Services | Initial Access | Leverage external remote services (VPN, Citrix) | T0822 External Remote Services
T0823 | Graphical User Interface | Execution | Gain access via GUI for enhanced execution | T0823 Graphical User Interface
T0826 | Loss of Availability | Impact | Disrupt essential components to prevent service delivery | T0826 Loss of Availability
T0827 | Loss of Control | Impact | Achieve sustained loss of control or runaway condition | T0827 Loss of Control
T0828 | Loss of Productivity and Revenue | Impact | Cause disruption to operations and availability | T0828 Loss of Productivity and Revenue
T0829 | Loss of View | Impact | Cause sustained/permanent loss of operator view | T0829 Loss of View
T0830 | Adversary-in-the-Middle | Collection | Intercept traffic to/from a device using AiTM | T0830 Adversary-in-the-Middle
T0831 | Manipulation of Control | Impact | Manipulate physical process control including set points | T0831 Manipulation of Control
T0832 | Manipulation of View | Impact | Manipulate information reported to operators | T0832 Manipulation of View
T0834 | Native API | Execution | Interact with native OS API to access system functions | T0834 Native API
T0835 | Manipulate I/O Image | Inhibit Response Function; Impair Process Control | Manipulate PLC I/O image | T0835 Manipulate I/O Image
T0836 | Modify Parameter | Impair Process Control | Modify parameters used to instruct ICS devices | T0836 Modify Parameter
T0837 | Loss of Protection | Impact | Compromise protective system functions | T0837 Loss of Protection
T0838 | Modify Alarm Settings | Inhibit Response Function | Modify alarm settings to prevent alerts | T0838 Modify Alarm Settings
T0839 | Module Firmware | Persistence; Impair Process Control | Install malicious firmware on modular hardware | T0839 Module Firmware
T0840 | Network Connection Enumeration | Discovery | Discover device communication patterns | T0840 Network Connection Enumeration
T0842 | Network Sniffing | Discovery; Collection | Monitor or capture network traffic | T0842 Network Sniffing
T0843 | Program Download | Lateral Movement; Impair Process Control | Transfer user program to controller | T0843 Program Download
T0845 | Program Upload | Collection | Upload controller program for analysis | T0845 Program Upload
T0846 | Remote System Discovery | Discovery | Obtain listing of systems on network | T0846 Remote System Discovery
T0847 | Replication Through Removable Media | Initial Access; Lateral Movement | Move onto systems via removable media | T0847 Replication Through Removable Media
T0848 | Rogue Master | Impair Process Control | Setup unauthorized master to issue commands | T0848 Rogue Master
T0849 | Masquerading | Evasion | Disguise malicious application as legitimate file | T0849 Masquerading
T0851 | Rootkit | Evasion; Inhibit Response Function | Deploy rootkit to hide malicious programs | T0851 Rootkit
T0852 | Screen Capture | Collection | Capture screen displays for information collection | T0852 Screen Capture
T0853 | Scripting | Execution | Use scripts to automate operations | T0853 Scripting
T0855 | Unauthorized Command Message | Impair Process Control | Send unauthorized commands to instruct assets | T0855 Unauthorized Command Message
T0856 | Spoof Reporting Message | Evasion; Impair Process Control | Spoof reporting messages to hide activity | T0856 Spoof Reporting Message
T0857 | System Firmware | Persistence; Inhibit Response Function | Modify system firmware for persistence | T0857 System Firmware
T0858 | Change Operating Mode | Execution; Evasion | Change PLC operating mode to gain access | T0858 Change Operating Mode
T0859 | Valid Accounts | Persistence; Lateral Movement | Use stolen or default credentials | T0859 Valid Accounts
T0860 | Wireless Compromise | Initial Access | Perform initial access via wireless communication | T0860 Wireless Compromise
T0861 | Point & Tag Identification | Collection; Discovery | Collect point/tag values for process understanding | T0861 Point & Tag Identification
T0862 | Supply Chain Compromise | Initial Access | Manipulate products prior to receipt | T0862 Supply Chain Compromise
T0863 | User Execution | Execution | Rely on user action to execute malicious code | T0863 User Execution
T0865 | Spearphishing Attachment | Initial Access | Use email attachment for initial access | T0865 Spearphishing Attachment
T0866 | Exploitation of Remote Services | Initial Access; Lateral Movement | Exploit remote services for access | T0866 Exploitation of Remote Services
T0867 | Lateral Tool Transfer | Lateral Movement | Transfer tools between systems | T0867 Lateral Tool Transfer
T0868 | Detect Operating Mode | Collection | Gather PLC/controller operating mode info | T0868 Detect Operating Mode
T0871 | Execution through API | Execution | Leverage APIs for communication with hardware | T0871 Execution through API
T0872 | Indicator Removal on Host | Evasion | Remove indicators of presence on system | T0872 Indicator Removal on Host
T0873 | Project File Infection | Persistence | Infect project files used for PLC programming | T0873 Project File Infection
T0874 | Hooking | Execution; Privilege Escalation | Hook into API functions for execution/privesc | T0874 Hooking
T0877 | I/O Image | Collection | Capture process values from PLC I/O image table | T0877 I/O Image
T0878 | Alarm Suppression | Inhibit Response Function | Suppress protection function alarms | T0878 Alarm Suppression
T0879 | Damage to Property | Impact | Cause damage/destruction to infrastructure and equipment | T0879 Damage to Property
T0880 | Loss of Safety | Impact | Compromise safety system functions | T0880 Loss of Safety
T0881 | Service Stop | Inhibit Response Function | Stop services to disrupt control system operation | T0881 Service Stop
T0882 | Theft of Operational Information | Impact | Steal operational information and intellectual property | T0882 Theft of Operational Information
T0884 | Connection Proxy | Command and Control | Use connection proxy to direct network traffic | T0884 Connection Proxy
T0885 | Commonly Used Port | Command and Control | Communicate over commonly used ports | T0885 Commonly Used Port
T0886 | Remote System Information Discovery | Discovery | Discover make/model/version of remote devices | T0886 Remote System Information Discovery
T0887 | Wireless Sniffing | Discovery; Collection | Monitor wirelessly communicated data | T0887 Wireless Sniffing
T0888 | Remote Services | Initial Access; Lateral Movement | Use remote accounts to log into services | T0888 Remote Services
T0889 | Modify Program | Persistence; Impair Process Control | Modify or add programs on a controller | T0889 Modify Program
T0890 | Exploitation for Privilege Escalation | Privilege Escalation | Exploit vulnerabilities to elevate privileges | T0890 Exploitation for Privilege Escalation
T0891 | Hardcoded Credentials | Persistence | Leverage hardcoded credentials in firmware/software | T0891 Hardcoded Credentials
T0892 | Change Credential | Persistence; Lateral Movement | Modify credentials to prevent access | T0892 Change Credential
T0893 | Data from Local System | Collection | Collect data from local system sources | T0893 Data from Local System
T0895 | Autorun Image | Initial Access; Execution | Leverage AutoRun to execute malicious code | T0895 Autorun Image
T0869 | Standard Application Layer Protocol | Command and Control | Use standard protocols for C2 | T0869 Standard Application Layer Protocol
T1691 | Block Operational Technology Message | Inhibit Response Function | Block OT messages between systems | T1691 Block Operational Technology Message
T1693 | Modify Firmware | Persistence; Impair Process Control | Modify firmware for malicious purposes | T1693 Modify Firmware
T1694 | Insecure Credentials | Persistence; Lateral Movement | Target insecure/default/hardcoded credentials | T1694 Insecure Credentials
T1695 | Block Communications | Inhibit Response Function | Block OT communications to disrupt processes | T1695 Block Communications

## Asset Inventory
Asset ID | System Type | Asset Name | Manufacturer | Model | FW/SW Version | Network Zone | Conduit ID | Purdue Level | SIL/Criticality | Protocol(s) | Physical Location | IP Address | Asset Display Name
ASSET-001 | SIS | Asset BMS | [10 empty] | ASSET-001 ¦ SIS
ASSET-002 | BPCS | [11 empty] | ASSET-002 ¦ BPCS
ASSET-003 | DCS | [11 empty] | ASSET-003 ¦ DCS
ASSET-004 | PLC | [11 empty] | ASSET-004 ¦ PLC
ASSET-005 | RTU | [11 empty] | ASSET-005 ¦ RTU
ASSET-006 | IED | [11 empty] | ASSET-006 ¦ IED
ASSET-007 | HMI | [11 empty] | ASSET-007 ¦ HMI
ASSET-008 | EWS | [11 empty] | ASSET-008 ¦ EWS
ASSET-009 | OWS | [11 empty] | ASSET-009 ¦ OWS
ASSET-010 | Data Historian | [11 empty] | ASSET-010 ¦ Data Historian
ASSET-011 | Application Server | [11 empty] | ASSET-011 ¦ Application Server
ASSET-012 | Domain Controller | [11 empty] | ASSET-012 ¦ Domain Controller
ASSET-013 | Network Switch | [11 empty] | ASSET-013 ¦ Network Switch
ASSET-014 | Firewall | [11 empty] | ASSET-014 ¦ Firewall
ASSET-015 | Router | [11 empty] | ASSET-015 ¦ Router
ASSET-016 | Wireless AP | [11 empty] | ASSET-016 ¦ Wireless AP
ASSET-017 | Safety Controller | [11 empty] | ASSET-017 ¦ Safety Controller
ASSET-018 | VFD/Motor Controller | [11 empty] | ASSET-018 ¦ VFD/Motor Controller
ASSET-019 | Sensor/Transmitter | [11 empty] | ASSET-019 ¦ Sensor/Transmitter
ASSET-020 | Actuator/Valve | [11 empty] | ASSET-020 ¦ Actuator/Valve
ASSET-021 | UPS/Power | [11 empty] | ASSET-021 ¦ UPS/Power
ASSET-022 | Communication Gateway | [11 empty] | ASSET-022 ¦ Communication Gateway
ASSET-023 | SCADA Server | [11 empty] | ASSET-023 ¦ SCADA Server
ASSET-024 | Patch Management Server | [11 empty] | ASSET-024 ¦ Patch Management Server
ASSET-025 | AV/Whitelisting Server | [11 empty] | ASSET-025 ¦ AV/Whitelisting Server
ASSET-026 | Jump Host/Bastion | [11 empty] | ASSET-026 ¦ Jump Host/Bastion
ASSET-027 | DMZ Server | [11 empty] | ASSET-027 ¦ DMZ Server

## Test Tracker
Test ID | Requirement ID | Standard | FR/Category | Requirement Name | Target SL | Asset Type Under Test | Asset Name | CVSS v4.0 Base Score | CVSS v4.0 Severity | CVSS v4.0 Vector String | Risk Ranking | Tester Name | Tester Organization | Tester Role | Test Date/Time | Test Method | Tools Used | Expected Results | Actual Results | Test Status | Artifacts Collected | Evidence Reference | Compensating Controls | Findings/Observations | Recommendations | Impact (ATT&CK ICS) | Consequence (CyberPHA/HAZOP) | Likelihood | Vulnerability Type (ATT&CK ICS) | Threat Level
TST-0001
TST-0002
TST-0003
TST-0004
TST-0005
TST-0006
TST-0007
TST-0008
TST-0009
TST-0010
TST-0011
TST-0012
TST-0013
TST-0014
TST-0015
TST-0016
TST-0017
TST-0018
TST-0019
TST-0020
TST-0021
TST-0022
TST-0023
TST-0024
TST-0025
TST-0026
TST-0027
TST-0028
TST-0029
TST-0030
TST-0031
TST-0032
TST-0033
TST-0034
TST-0035
TST-0036
TST-0037
TST-0038
TST-0039
TST-0040
TST-0041
TST-0042
TST-0043
TST-0044
TST-0045
TST-0046
TST-0047
TST-0048
TST-0049
TST-0050
TST-0051
TST-0052
TST-0053
TST-0054
TST-0055
TST-0056
TST-0057
TST-0058
TST-0059
TST-0060
TST-0061
TST-0062
TST-0063
TST-0064
TST-0065
TST-0066
TST-0067
TST-0068
TST-0069
TST-0070
TST-0071
TST-0072
TST-0073
TST-0074
TST-0075
TST-0076
TST-0077
TST-0078
TST-0079
TST-0080
TST-0081
TST-0082
TST-0083
TST-0084
TST-0085
TST-0086
TST-0087
TST-0088
TST-0089
TST-0090
TST-0091
TST-0092
TST-0093
TST-0094
TST-0095
TST-0096
TST-0097
TST-0098
TST-0099
TST-0100

## CVSS v4.0 Reference
Metric Group | Metric | ID | Value Options | Description
Base-Exploitability | Attack Vector | AV | Network(N),Adjacent(A),Local(L),Physical(P) | How vulnerability is exploited
Base-Exploitability | Attack Complexity | AC | Low(L),High(H) | Conditions beyond attacker control
Base-Exploitability | Attack Requirements | AT | None(N),Present(P) | Prerequisites for attack
Base-Exploitability | Privileges Required | PR | None(N),Low(L),High(H) | Privilege level needed
Base-Exploitability | User Interaction | UI | None(N),Passive(P),Active(A) | User interaction needed
Base-Vulnerable Sys | Confidentiality (VC) | VC | None(N),Low(L),High(H) | C impact to vulnerable system
Base-Vulnerable Sys | Integrity (VI) | VI | None(N),Low(L),High(H) | I impact to vulnerable system
Base-Vulnerable Sys | Availability (VA) | VA | None(N),Low(L),High(H) | A impact to vulnerable system
Base-Subsequent Sys | Confidentiality (SC) | SC | None(N),Low(L),High(H) | C impact to subsequent system
Base-Subsequent Sys | Integrity (SI) | SI | None(N),Low(L),High(H) | I impact to subsequent system
Base-Subsequent Sys | Availability (SA) | SA | None(N),Low(L),High(H) | A impact to subsequent system
Supplemental | Safety (S) | S | Not Defined(X),Negligible(N),Present(P) | Physical safety impact
Supplemental | Automatable (AU) | AU | Not Defined(X),No(N),Yes(Y) | Can attack be automated
Supplemental | Recovery (R) | R | Not Defined(X),Automatic(A),User(U),Irrecoverable(I) | Recovery capability
Threat | Exploit Maturity | E | Not Defined(X),Attacked(A),POC(P),Unreported(U) | Exploit availability

## Risk Matrix
OT Cyber-Physical Security Risk Assessment Matrix
Likelihood \ Impact | Catastrophic | Critical | Major | Moderate | Minor
Almost Certain | Critical | Critical | Critical | High | High
Likely | Critical | Critical | High | High | Medium
Possible | Critical | High | High | Medium | Medium
Unlikely | High | High | Medium | Medium | Low
Rare | High | Medium | Low | Low | Low
Security Assurance Decision Framework
Decision Level | Criteria | CVSS v4.0 Range | Risk Level | Conditions | Action
Rejection | Fails minimum SL-3; critical/high unmitigated | >=9.0 | Critical | Critical finding without compensating controls | Do not deploy. Remediate and retest.
Limited Assurance | Meets SL-3; high findings with compensating controls | 7.0-8.9 | High | High findings with documented compensating controls + 30 day POA&M | Conditional deployment with monitoring + 30 mitigation POA&M.
Conditional Assurance | Meets target SL; medium findings with mitigations | 4.0-6.9 | Medium | Medium findings with 60 day remediation timeline | Deploy with conditions and scheduled reassessment. 60 day mitigation POAM
Reasonable Assurance | Meets/exceeds target SL; low/informational only | 0.0-3.9 | Low/None | No unmitigated findings above Low | Full deployment authorization. 6-12 month mitigation POAM

## POA&M Tracker
POA&M ID | Source | Test ID Ref | Description | Affected System(s) | Risk Level | CVSS v4.0 Score | Corrective Action | Responsible Owner | Target Date | Status | Days Open | Completion Date | Verification Method | Notes
POAM-001
POAM-002
POAM-003
POAM-004
POAM-005
POAM-006
POAM-007
POAM-008
POAM-009
POAM-010
POAM-011
POAM-012
POAM-013
POAM-014
POAM-015
POAM-016
POAM-017
POAM-018
POAM-019
POAM-020
POAM-021
POAM-022
POAM-023
POAM-024
POAM-025
POAM-026
POAM-027
POAM-028
POAM-029
POAM-030
POAM-031
POAM-032
POAM-033
POAM-034
POAM-035
POAM-036
POAM-037
POAM-038
POAM-039
POAM-040
POAM-041
POAM-042
POAM-043
POAM-044
POAM-045
POAM-046
POAM-047
POAM-048
POAM-049
POAM-050
Formulas:
Days Open = IF(AND([Status]<>"Closed",[Target Date]<>""),MAX(0,TODAY()-[Target Date]),"")

## Metrics Dashboard
OT Cyber-Physical Security Assurance Test Metrics Dashboard
Test Status Summary | Count | % | FR Coverage by Risk Ranking
Total Tested | -100 |  | FR/Category | Tests | Critical | High | Medium | Low | Pass
Pass | 0 | 0% | FR1 - Identification and Authentication | 0 | 0 | 0 | 0 | 0 | 0
Fail | 0 | 0% | FR2 - Use Control (UC) | 0 | 0 | 0 | 0 | 0 | 0
Partial | 0 | 0% | FR3 - System Integrity (SI) | 0 | 0 | 0 | 0 | 0 | 0
Not Tested | 0 | 0% | FR4 - Data Confidentiality (DC) | 0 | 0 | 0 | 0 | 0 | 0
Not Applicable | 0 | 0% | FR5 - Restricted Data Flow (RDF) | 0 | 0 | 0 | 0 | 0 | 0
Deferred | 0 | 0% | FR6 - Timely Response to Events (TRE) | 0 | 0 | 0 | 0 | 0 | 0
|  |  | FR7 - Resource Availability (RA) | 0 | 0 | 0 | 0 | 0 | 0
Risk Ranking Distribution | Count | % | PLC Top 20 Secure Coding Practices | 0 | 0 | 0 | 0 | 0 | 0
Critical | 0 | 0%
High | 0 | 0%
Medium | 0 | 0% | ATT&CK ICS Impact Technique Distribution
Low | 0 | 0% | Impact Technique | Count
Not Applicable | 0 | 0% | T0879 Damage to Property | 0
None | 0 | 0% | T0813 Denial of Control | 0
|  |  | T0815 Denial of View | 0
|  |  | T0826 Loss of Availability | 0
|  |  | T0827 Loss of Control | 0
|  |  | T0828 Loss of Productivity and Revenue | 0
|  |  | T0837 Loss of Protection | 0
|  |  | T0880 Loss of Safety | 0
|  |  | T0829 Loss of View | 0
|  |  | T0831 Manipulation of Control | 0
|  |  | T0832 Manipulation of View | 0
|  |  | T0882 Theft of Operational Information | 0
Consequence Type Distribution (CyberPHA/HAZOP/FMEA)
|  |  | Consequence Type | Count
|  |  | Loss of Life / Injury | 0
|  |  | Environmental Release | 0
|  |  | Equipment Damage | 0
|  |  | Production Loss | 0
|  |  | Financial Loss | 0
|  |  | Loss of View | 0
|  |  | Loss of Control | 0
|  |  | Safety System Bypass | 0
|  |  | Fire/explosion | 0
|  |  | Cascading failure | 0
|  |  | PLC/RTU Logic Manipulation | 0
|  |  | SIS Bypass/Compromise | 0
|  |  | Human Error (Operator) | 0

## Report Template
OT CYBER-PHYSICAL SECURITY ASSURANCE TEST REPORT
Report Information
Report Title:
Document Classification: | CONFIDENTIAL
Report Date: | 2026-05-25
Prepared By:
Organization:
Executive Summary
Overall Assurance Decision:
Summary Statistics (Auto-Populated)
Total Tested: | -100
Pass: | 0
Fail: | 0
Critical Findings: | 0
High Findings: | 0
Medium Findings: | 0
Low Findings: | 0
Assurance Decision Statements
REJECTION
System DOES NOT meet minimum SL-T. Critical/unmitigated high-severity (CVSS >=9.0) vulnerabilities present unacceptable HSE/operational risk. DO NOT deploy until all critical findings remediated and retested. Pre-golive punchlist must be fixed. Must lower risk to Medium or Low with respective POAM timelines.
LIMITED ASSURANCE
System meets SL-3 baseline but has high-severity findings (CVSS 7.0-8.9) requiring documented compensating controls per ISA/IEC 62443-3-3. Conditional deployment ONLY with continuous monitoring, compensating countermeasures, and POA&M with <=30 day remediation.
CONDITIONAL ASSURANCE
System meets target SL with medium-severity findings (CVSS 4.0-6.9) having identified mitigations. Authorized with conditions: scheduled reassessment within 60 days, documented risk acceptance by asset owner, and implementation of recommended mitigations.
REASONABLE ASSURANCE
System meets/exceeds SL-T. Only low/informational findings (CVSS 0.0-3.9). Security controls properly designed, implemented, and operating effectively. Full deployment authorized. 6-12 Month mitigation continuous monitoring POAM